**S2000JR PROGRAMMING IN OZ**

HOLD ZERO KEY WHILE TURNING ON THE SCALE

PRESS ZERO KEY UNTIL YOU SEE PLU T

PRESS TARE KEY AND YOU WILL SEE USE

PRESS ZERO KEY AND YOU WILL SEE UNIT

PRESS TARE KEY UNTIL YOU SEE OZ

KEEP PRESSING ZERO KEY AND THE SCALE WILL RESTART