NOTE - the AC adapters are opposite polarity it is important to get the right version.

Original Models V1

AC Adapter 120V US = 80500457

The left button read "Cal/Unit"

No "Made in China" on bottom

The AC adapter output is 4.5V DC @100ma, Tip Negative

Newer Models V2

AC Adapter = 90524-66

The left button reads "Unit/Cal"

"Made in China" on bottom

The AC adapter 120V US output is 9V DC @100ma, Tip Positive

Newest Models V3 include an AC Adapter

The color is Off White with Teal highlights

AC Adapter (Universal 100 -240V, 50-60Hz) (12v DC @ 420ma Tip +) = 46001724 with a universal plug set = 46001780